## Sheet1
SW-4010Q-PMCL ROI Line Rate Calculator (RGB)
Last updated: 7/24/2023
Camera settings | Modify data in yellow boxes to calculate RGB line rate
Width (ROI) | 4096
H Binning/Scaling | Off | Vertical binning does not affect line rate
Pixel Format | RGB8
CL Clock | High (85 MHz)
ImageScalingHorizontalRaw | 4096 | This setting is ignored unless Image Scaling is On (Raw)
Output Width | 4096
Line Rate (Hz) | 20597.3223 | Shows maximum line rate achievable. Slower line rates can be specified using AcquisitionLinePeriod.
Pixel width (microns) | 7.5 | For Image Scaling (Raw), this value is approximate
Reference values and calculations (do not edit)
Line period (clks) |  | 4
Line clock |  | 4100
CLWidth |  | 85000000
Jitter |  | 0.3
LinePeriod (us) |  | 48.54
LinePeriod (adjusted) |  | 48.55
PixelFormats |  | Valid Widths
RGB8 |  | 4096
RGB10BasePacked |  | 4080
RGB12BasePacked |  | 4064
4048
CL Clock |  | 4032
Low (42.5 MHz) |  | 4016
Med (65 MHz) |  | 4000
High (85 MHz) |  | 3984
3968
Binning/scaling |  | 3952
Off |  | 3936
Binning On |  | 3920
SWIRHalfPixelMode |  | 3904
SWIRPixelMode |  | 3888
Scaling On (raw) |  | 3872
3856
3840
3824
3808
3792
3776
3760
3744
3728
3712
3696
3680
3664
3648
3632
3616
3600
3584
3568
3552
3536
3520
3504
3488
3472
3456
3440
3424
3408
3392
3376
3360
3344
3328
3312
3296
3280
3264
3248
3232
3216
3200
3184
3168
3152
3136
3120
3104
3088
3072
3056
3040
3024
3008
2992
2976
2960
2944
2928
2912
2896
2880
2864
2848
2832
2816
2800
2784
2768
2752
2736
2720
2704
2688
2672
2656
2640
2624
2608
2592
2576
2560
2544
2528
2512
2496
2480
2464
2448
2432
2416
2400
2384
2368
2352
2336
2320
2304
2288
2272
2256
2240
2224
2208
2192
2176
2160
2144
2128
2112
2096
2080
2064
2048
2032
2016
2000
1984
1968
1952
1936
1920
1904
1888
1872
1856
1840
1824
1808
1792
1776
1760
1744
1728
1712
1696
1680
1664
1648
1632
1616
1600
1584
1568
1552
1536
1520
1504
1488
1472
1456
1440
1424
1408
1392
1376
1360
1344
1328
1312
1296
1280
1264
1248
1232
1216
1200
1184
1168
1152
1136
1120
1104
1088
1072
1056
1040
1024
1008
992
976
960
944
928
912
896
880
864
848
832
816
800
784
768
752
736
720
704
688
672
656
640
624
608
592
576
560
544
528
512
496
480
464
448
432
416
400
384
368
352
336
320
304
288
272
256
240
224
208
192
176
160
144
128
112
96
80
64
48
32
16